#### Minot State University  - Bottineau

Instructor:		Craig Dolbeare

Office:			Water Technology Building

Office Hours:		1pm to 3pm Daily

E-Mail:		dolbcrai@misu.nodak.edu

Office Phone:		701-228-5473

### Home Phone:		701-228-2720

COURSE TITLE:

# WATR 125 - Distribution System Maintenance

PREREQUISITE:

## None

REQUIRED TEXT:

Water Transmission and Distribution, 2nd ed. 1995, American Water Works Association

COURSE DESCRIPTION:

This course introduces students to the operation and maintenance of water distribution systems.  Topics to be introduced but not limited to include safety practices, plumbing, hydrants, valves, service connections, backflow prevention, cross connections, system inspection, cleaning, and testing, underground repair, sampling and lab applications, standards and regulations.

COURSE OBJECTIVES:

Upon completion of this course, the student will understand and apply:

- Safety procedures involved with underground repairs and installation of water mains, hydrants, and service connections.

- A working knowledge of backflow prevention, cross connections, and its significance to public health.

- Safe and effective operation and maintenance of the water distribution system.

- Proper sampling, record keeping, and reporting procedures required by regulations.

- Water quality customer complaint investigation.

COURSE CONTENT:

- Distribution system design

- Piping Materials

- Valves

- Water Main Installation

- Backfilling, Main Testing, and installation Safety

- Fire Hydrants

- Water Storage

- Distribution System Operation and Maintenance

- Water Services

- Water Meters

- Cross-Connections

- Pumps

- Motors and Engines

- Instrumentation and Control

- Information Management

- Public Relations

COURSE STANDARDS:

- Attendance is required.  Each student will be allowed three unexcused absences,

and after the 3rd absence the student will be lowered one letter grade for each

absence thereafter.

- Assignments need to be handed in on time

- Daily assignments, quizzes, and tests can be made up only in the case of school-related absences.  Other legitimate "emergency"-type absences must be prearranged.

GRADING:

- Points are accumulated from daily assignments, quizzes and tests.

- Five points will be given daily for class participation.

- A comprehensive final will be given at the end of the semester.

100%	- 90% =  A		89%	- 80% =  B         79%	- 70% =  C

69%	- 60% =  D		Below- 60% =  F