# Minot State University - Bottineau

COURSE TITLE:

WATR 101 Water Treatment

PREREQUISITE:

None

REQUIRED TEXT:

Water Treatment Plant Operation, 4nd ed.

COURSE DESCRIPTION:

This course will identify various water treatment applications in relation to the waters sources and characteristics.  Topics to include source water, preliminary treatment, flocculation, coagulation, aeration, sedimentation, softening, filtration, stabilization, disinfection, water quality standards and regulations, sampling and laboratory applications

COURSE OBJECTIVES:

Upon completion of this course, the student will understand and have the ability to

perform:

- With a working knowledge of local, state, and federal government regulations concerning water quality.

- The duties of a water treatment plant operator by following the appropriate safety procedures as regulated by state and federal agencies.

- Proper sample collection and preservation, laboratory safety and testing procedures and techniques.

- Safe chemical handling, proper adjustment of chemical dosages and control chemical applications for various treatment processes.

- Effective operation and maintenance of water treatment plant processes.

COURSE STANDARDS:

- Attendance is required.

- Assignments need to be handed in on time.

- Daily assignments, quizzes, and tests can be made up only in the case of

school-related absences.  Other legitimate "emergency"-type absences must

be prearranged.

GRADING:

- Points are accumulated from daily assignments, quizzes and tests.

- Five points will be given daily for class participation.

- A comprehensive final exam will be given at semester’s end.

100%  -  90%  =  A		89%  -  80%  =  B		79%  -  70%  =  C

69%  -  60%  =  D		Below 60  =  F