# Minot State University - Bottineau

COURSE TITLE:

WATR 120  Mechanical Maintenance I

PREREQUISITE:

None

REQUIRED TEXT:

Pumps & Pumping, by Skeet Arasmith

COURSE DESCRIPTION:

This is an introduction to the operation and maintenance of mechanical equipment in the water and wastewater.  Equipment includes centrifugal and positive displacement pumps, blowers, air compressors, motors, dry and liquid chemical feed equipment.

COURSE OBJECTIVES:

- To learn the safe and proper operation of tools and equipment.

- To learn preventive maintenance and maintenance record systems.

- To have a working knowledge of maintenance and calibration of dry and liquid chemical feed equipment.

- To have a working knowledge of pumps, pump nomenclature, hydraulics, and pump installation procedures.

- To develop a working knowledge of various safety practices including MSDS, confined space, and lock out/tag out.

COURSE STANDARDS:

- Attendance is required.

- Assignments need to be handed in on time.

- Daily assignments, quizzes, and tests can be made up only in the case of

school-related absences.  Other legitimate "emergency"-type absences must

be prearranged.

GRADING:

- Points are accumulated from daily assignments, quizzes and tests.

- Five points will be given daily for class participation.

- A comprehensive final exam will be given at semester’s end.

100%  -  94%  =  A		93%  -  86%  =  B		85%  -  78%  =  C

77%  -  70%  =  D		Below 70  =  F